Advisory

Safe Water after a Disaster

Public and private drinking water systems are often seriously affected by disasters, creating a risk of contaminated water.  In the aftermath of Sunday’s tornado, Joplin’s Missouri American Water company has issued a boil order for district water customers.  Therefore, Joplin residents are urged to use extreme caution when drinking and washing with water from the public water system.

The Missouri Department of Health and Senior Services urges people in the Joplin area to follow these recommendations related to safe drinking water until local officials deem the water safe to drink.

How does water become contaminated in a disaster situation?

- After a major storm or earthquake, you must assume that all water sources are contaminated until proven safe. Water contamination can occur when sewage systems are damaged or when there are breaks in the water lines.

- Contaminated water can cause many illnesses.

How will I know if my water has been contaminated?

- Do not use water that has a dark color, an odor or contains floating material.

- There will be a public announcement to boil the water. This is known as a “boil order.”

How do I purify my water?

- Water can be purified at home or it can be purchased.

- Water may either be boiled or chlorine bleach may be added. To boil, bring water to a rolling boil and keep it boiling for 3-5 minutes. Pour water into disinfected drinking container (instructions for disinfecting containers provided below). Store in refrigerator if possible.

- To use chlorine bleach, strain the water through a coffee filter or cheese cloth to remove dirt and other particles. Use 16 drops of pure unscented household bleach to a gallon of water. Let stand for 30 minutes. If water is still cloudy after 30 minutes, you may add an additional 16 drops of chlorine to the gallon size container. Let the water stand an additional 30 minutes.

- Do not use more than the recommended amount of bleach. Excessive amounts can be poisonous.

What are the best types of containers to use to store water?

- Use clean plastic or glass containers such as soft drink bottles or canning jars that have tight fitting screw caps. Avoid milk bottles-they do not seal well.

- Use disinfected containers only. Remember to disinfect them again each time they are refilled.

How do I disinfect drinking water containers?

- Add one tablespoon of liquid household bleach to a gallon of water into the container.

- Let solution stand for 10 minutes, then pour out. Rinse the container with purified water.

- Fill container again with purified water, then cap the container for later use.

- You may also boil glass bottles or jars to disinfect them. In a large pan, submerge the bottle or jar in water. Bring to a rolling boil for 10 minutes.

- Fill the jars with purified water and cap the container for later use.

Can I depend on water treatment devices to purify water adequately in these situations?

- No. The filter can become clogged, therefore, over loading the filter, and providing no protection against the bacteria and viruses in the water.

Disinfecting Wells and Water Sources

The following instructions are for the disinfection or treatment of wells and private water sources that have been subjected to flood, storm water, or other possible sources of contamination. If the well casing is submerged in flood water, DO NOT USE THE WATER. Water from submerged wells cannot be safely sanitized. When flood waters recede, small quantities may be disinfected until the well can be properly chlorinated.

After flood waters recede, or the cause of contamination is eliminated, wells can be disinfected with chlorine. A convenient form to use is sold commercially in grocery or other stores as liquid chlorine laundry bleach. Most of these products contain 5.25 percent solution or more of sodium hypochlorite when fresh, and is equivalent to 5 percent available chlorine.

Determine the Amount and Add the Chlorine Disinfecting Solution

The quantity of chlorine solution needed to disinfect a well is based upon 100 parts of chlorine to a million parts of water. To eliminate mathematical calculations, it is safe to use the following quantities and methods to disinfect the different types, sizes, and depths of wells and water sources.

Drilled or Driven Wells- Use one quart of the commercial 5 percent chlorine solution for

each 100 feet of well depth in a drilled well which is four inches in diameter. For two-inch

driven wells, or smaller, add one cup for each 25 feet of water.

1. The measured solution should be diluted with water to make about three (3) gallons.

Water drawn from the contaminated well is suitable for this purpose.

2. Pour the diluted chlorine solution directly into the casing of a single tubular well, or

into the annular space between the outer casing and the drop pipe, of a double tubular

well.

3. If the well is sealed and the pump drop pipe is not equipped with a foot valve at the

bottom, and does not have a cylinder in the way, it is also possible to pour the solution

down through the pump and drop pipe.

Dug Wells- Dug wells which have become contaminated should first be pumped dry,

cleaned, and the walls scrubbed down. If it is not possible to pump the well dry, the pumping

should be continued until the water becomes clear. The well should then be allowed to fill,

and, if the water is still not clear, it should be pumped out again.

When the water is clear, the well should be disinfected using the following quantities of 5

percent chlorine solution for each foot of depth of water in the well:

Diameter of Well 		Quantity 5 Percent Chlorine Bleach

1 to 3 feet 				1.5 Cups

4 feet 					3.0 Cups

5 feet 					4.5 Cups

6 feet 					6.0 Cups

8 feet 				          12.0 Cups

10 feet 				          18.0 Cups

Add this quantity of chlorine bleach directly into the well interior.

Cisterns- Cisterns, spring collection basins, or drinking water storage tanks should be

disinfected in the same manner as dug wells. Pump out, or drain the water in the cistern;

scrub down the interior walls; fill or allow the tank to refill with clear water; and, if it is not

known, calculate the capacity of the tank or containment by using one of the following

formulas:

a. Square or Rectangular Tank measure in feet:

Capacity (gallons) = Length x Width x Depth x 7.5

b. Cylindrical Tank measure in feet:

Capacity (gallons) = Diameter x Diameter x Length x 5.9

c. Add the amount of 5 percent chlorine solution indicated in the following table:

Capacity (Gallons) 				Quantity of 5 Percent Chlorine Bleach

500 							5.0 Quarts

750 						            7.5 Quarts

1,000							 10 Quarts

2,000 							 20 Quarts

4,000 							 40 Quarts

This amount of chlorine bleach should be poured directly into the cistern or storage tank.

Allow Time for Disinfection of the Water Source and Distribution System

After the well, cistern, or storage tank has been dosed with the appropriate amount of chlorine, it

should be pumped just long enough to bring the treated water through the pump to all faucets on

the distribution system. The odor at the faucets will be a good test to indicate chlorine presence.

If the above dosages do not produce an obvious chlorine odor in the water, add more chlorine

bleach solution until a distinct odor is noticed.

Let the chlorinated well and distribution system stand for 12 to 24 hours. This will allow time for the chlorine solution to disinfect the well, or water source, and distribution system. After at least 12 hours, the system should be pumped to waste until no further trace of chlorine is

noticeable in the water.

If you have public or municipal sewers, run each tap until the disinfectant odor disappears, while

allowing the water to go down the fixture drain. If you have a septic system, it is preferable to first connect a garden hose to an outside faucet or hydrant and run the water into a roadside ditch or drainage swale, until the disinfectant odor disappears. Then, turn on each water faucet to discharge the chlorine residual in the immediate vicinity of the faucet.

Sample the Water for Bacteriological Analysis Before Use

Following disinfection of the water supply system, the water should be sampled for bacteriological analysis. Remember that no water should be used for drinking or food preparation, unless it is first boiled or treated, until a satisfactory report is obtained from a laboratory. The safety of water cannot be judged by color, odor, or taste. The organisms that cause water-borne disease cannot be seen.